Sewerage Policy Worksheet

Applicant ___________________________  App#___________

Lot____ No._____ Street ______________________________

Suburb _______________________________

EHO ____________________________ Date _____________

If YES to any Part A or B then the application complies with the Policy, determine whether onsite effluent disposal is achievable..

If NO to ALL Part A or B questions then the application does not comply with the Sewerage Policy and should be referred to Department of Health for an official determination. Before referral gather more information including: Whether the applicant can supply evidence of a lower wastewater output and whether the lot can support the proposed wastewater loading.

PART A - Subdivisions

- Are all lots 2000m2 or greater?       					Yes  /  No

- Does the application complete an existing pattern of development? Ie: is there the potential to create more than 4 other lots of similar size in the vicinity (street block)?     Yes  /  No

- Does the subdivision propose to create only rural land for rural use?  Yes  /  No

- Remote development – does the application meet all of the following requirements:

  - Land is remote from existing or proposed land with lot size 2000m2 (R5) or less;

  - Maximum 25 lots proposed;

  - Minimum average lot size R12.5 (800m2)

  - Smallest proposed lot at least 700m2

  - Sewerage connection not practical or economical in the foreseeable future in opinion of the Water Corporation? Yes  /  No

PART B - Development Applications

- Is the application only additional accomm. (granny flat) with floor area of 60m2 or less?  Yes  /  No

- The application will NOT result in an increase in wastewater, ie: it is a redistribution of existing people/activities.	 						Yes  /  No

- Is the application for aged or dependant persons accommodation meeting all the following:

  - Does the development meet a community need;

  - The proposed lots sizes are 800m2 (R12.5) or more;

  - There is no alternative site in the community suitable for the development where sewer is available;

  - An identifiable owner or strata body exists to be responsible for the maintenance of the effluent disposal system; and

  - The area identified for effluent disposal meets the requirements of Appendix 2 of the Sewerage Policy.  					Yes  /  No

- Are the proposed Residential Equivalent (RE’s) less than the allowable RE’s (calculate below)?	Yes  /  No

  - Calculate proposed wastewater volumes

| Proposed Uses (don’t forget Full time Equivalent Staff!!) | L/day (Reg 29) | x no. people | = L/day |
| --- | --- | --- | --- |
|  | Total L/day |  |  |

  - Allowable Residential Equiv’s     = Lot size _______m2 ÷ 2,000m2   = _______ RE’s allowable

c.    Number RE’s proposed              = Total L/day  _______ ÷ 540L    = _______ RE’s proposed

Applicant ___________________________  App#___________

Lot____ No._____ Street ______________________________

Suburb _______________________________

EHO ____________________________ Date _____________