AQUATIC FACILITY ANNUAL AUDIT – GROUP THREE

Location:				Site Code:		Max Bather No:

Contact:				Position:				Ph:

| Indicate compliance by using P/O in “C” column. If non-compliance is serious indicate by also inserting a O in the “S” column |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- |
|  |  |  | C |  | S |  |
| Operator/Manager requirements | Not required on-site at all times |  |  |  |  |  |
| Patron Supervision/Emergency care personnel | No direct supervision Emergency care personnel on-site |  |  |  |  |  |
| Fencing | Complies with AS 1926.1 – 1993 1.2m high, gaps no more than 100mm |  |  |  |  |  |
| Walls and floor | Approved colour, smooth, in good condition, no cracks or entrapments |  |  |  |  |  |
| Concourse | Smooth, slip resistant, adequate drainage and graded away from the water body |  |  |  |  |  |
| Depth Markings | Permanent, contrast colour to background, intervals not exceeding 7.5m, visible, indicate max & min depth, indicate depth at major deviations in shape, on horizontal surface where level of water is < 125mm |  |  |  |  |  |
| First Aid Room | Location adequately signed |  |  |  |  |  |
| First Aid Facilities | - Resuscitation notice - First aid sign - HWB with water - GPO outlet - Storage for first aid supplies - Washable flooring |  |  |  |  |  |
| First aid equipment | - First aid kit - 2 pillows & blankets - Pocket mask & disposable gloves - Stretcher |  |  |  |  |  |
| Rescue Equipment | Appropriate rescue equipment available and readily accessible. (e.g. reaching poles, rescue tubes, life jackets and throwing ropes/bags) |  |  |  |  |  |
| Safety Signage | Signage that details patron rules & behaviour Prominent location Warning sign at entrance ‘No Lifeguard on duty’ |  |  |  |  |  |
| Frequency of Testing (pH/Cl) | Three times a day |  |  |  |  |  |
| Log Book | Testing records kept and available on-site |  |  |  |  |  |
| Testing equipment | Palintest or Lovibond Comparator/Photometer |  |  |  |  |  |
| Backwash | Disposed of in an approved manner (i.e. sewer, soak wells |  |  |  |  |  |

COMMENTS:

#### WATER QUALITY

| Pool Name/ Area | Temp: must not be above 38oC | Cl/Br level | pH | Alkalinity | Ca Hardness | Total Dissolved Solids | Iso Cyanurate (Stabilizer) | Water Source (eg. Scheme, bore, etc) |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |

Assessment Officer:						  Date: